## ReadMe
ITRC PFAS Regulations, Guidance and Advisory Values
This Excel file includes the Water and Soil Tables of Regulations, Guidance and Advisories for PFAS, and is part of the ITRC PFAS Technical and Regulatory Guidance Document. The values included here are changing rapidly. The ITRC intends to update this spreadsheet periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file.
September 2020
See ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer

## Water Table
September 2020
Standards and guidance values for PFAS in groundwater, drinking water, and surface water/effluent (wastewater).
This Table belongs with the ITRC PFAS Technical and Regulatory Guidance Document. The values included here were confirmed to be in use as of the end of the calendar month for which this table is prepared. These values are changing rapidly. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file. Please see ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
PFAS Analyte Concentration (µg/L) and CAS RN
| Location |  | Agency / Dept | Year First Listed | Standard / Guidance | Type | Promulgated Rule (Y/N/O) | Footnote | PFOA | PFOS | PFNA | PFBA | PFBS | PFHxS | PFHxA | PFPeA | PFHpA | PFOSA | PFDA | PFDS, PFUnDA, PFDoDA, PFTrDA, PFTeDA | PFDS | PFUnDA | PFDoDA | PFTrDA | PFTeDA | 6:2 FTS | 8:2 FTS | Gen-X
[9 empty] | 335-67-1 | 1763-23-1 | 375-95-1 | 375-22-4 | 375-73-5 | 355-46-4 | 307-24-4 | 2706-90-3 | 375-85-9 | 754-91-6 | 335-76-2 | 335-77-3, 2058-94-8, 307-55-1, 72629-94-8, 376-06-7 | 335-77-3 | 2058-94-8 | 307-55-1 | 72629-94-8 | 376-06-7 | 39108-34-4 | 39108-34-4 | 3252-13-6
U.S. Environmental Protection Agency
|  | USEPA | Office of Water | 2016 | HA | DW | N | a | 0.07 | 0.07
|  |  | Regions | 2014 | RSL | GW | N | b |  |  |  |  | 400
|  |  | Regions | 2018 | RSL Calculation | GW | N | c | 0.4 | 0.4
|  |  | OLEM | 2019 | Interim Recommendation | GW | N | m | 0.04 | 0.04
U.S. States
|  | Alaska (AK) | DEC | 2016 | CL | GW | Y |  | 0.4 | 0.4
|  |  | DEC | 2018 | Action Level | DW/GW/SW | N | a | 0.07 | 0.07
|  | California (CA) | SWRCB | 2018 | NL | DW | N |  | 0.0051 | 0.0065
|  |  | SWRCB | 2018 | RL (CA) | DW | Y |  | 0.01 | 0.04
|  | Colorado (CO) | DPHE | 2018 | GQS | GW | Y | d | 0.07 | 0.07
|  |  | WQCC | 2020 | Translation Levels | GW/SW | Y | q | 0.07 | 0.07 | 0.07 |  | 400 | 0.7
|  | Connecticut (CT) | DPH | 2016 | AL | DW/GW | N | e | 0.07 | 0.07 | 0.07 |  |  | 0.07 |  |  | 0.07
|  | Delaware (DE) | DNREC | 2016 | RL | GW | N | a | 0.07 | 0.07
|  |  | DNREC | 2016 | SL | GW | N | a | 0.07 | 0.07
|  | Florida (FL) | FDEP | 2019 | PGCTL | GW | O | n | 0.07
|  |  | FDEP | 2019 | SL | SW | O | n | 0.15 | 0.004
|  | Hawaii (HI) | DOH | 2020 | EAL | Protected GW | Y |  | 0.04 | 0.04 | 0.0044 | 7.6 | 40 | 0.019 | 4 | 0.08 | 0.04 | 0.024 | 0.004 |  | 0.02 | 0.01 | 0.013 | 0.013 | 0.13 |  |  | 0.016
[6 empty] | Non-protected GW | Y |  | 22 | 31 | 0.0044 | 7.6 | 50000 | 31 | 48000 | 0.8 | 0.04 | 0.024 | 0.04 |  | 0.02 | 0.01 | 0.013 | 0.013 | 0.13 |  |  | 0.16
|  | Indiana (IN) | DEM | 2019 | SL (tap) | Protected GW | Y | [5 empty] | 400
|  | Iowa (IA) | DNR | 2016 | Statewide Standards | Protected GW | Y | a | 0.07 | 0.07
|  |  | DNR | 2016 |  | Non-protected GW | Y |  |  | 1
|  | Maine (ME) | DEP | 2018 | RAG | GW | N |  | 0.4 | 0.4 |  |  | 400
|  | Massachusetts (MA) | DEP | 2018/2019 | Drinking Water Values | DW | O | e | 0.02 | 0.02 | 0.02 |  |  | 0.02 |  |  | 0.02 |  | 0.02
|  |  | DEP | 2019 | GW-1 | GW | Y | e | 0.02 | 0.02 | 0.02 |  |  | 0.02 |  |  | 0.02 |  | 0.02
|  |  | DEP | 2019 | GW-3 | GW | Y |  | 40000 | 500 | 40000 |  |  | 500 |  |  | 40000 |  | 40000
|  | Michigan (MI) | DEQ | 2015 | HNV | SW | Y |  | 0.42 | 0.011
|  |  | DEQ | 2018 | GCC | DW/GW | Y | a | 0.07 | 0.07
|  |  | DHHS | 2019 | Screening Levels | DW | N |  | 0.009 | 0.008 | 0.009 |  | 1 | 0.084
|  |  | EGLE | 2020 | MCL | DW | Y |  | 0.008 | 0.016 | 0.006 |  | 0.420 | 0.051 | 400 | [12 empty] | 0.370
|  | Minnesota (MN) | MDH | 2009/2011/2018 | HRL- subchronic | DW/GW | Y | f | 0.035 |  |  | 7 | 9
|  |  | MDH | 2009/2011/2018 | HRL - chronic | DW/GW | Y | f | 0.035 | 0.3 |  | 7 | 7
|  |  | MDH | 2017/2019 | HBV - subchronic | DW/GW | N | f |  | 0.015 |  |  | 3 | 0.047
|  |  | MDH | 2017/2019 | HBV - chronic | DW/GW | N | f |  | 0.015 |  |  | 2 | 0.047
|  | Montana (MT) | DEQ | 2019 | Water Quality Standard | GW | Y | a | 0.07 | 0.07
|  | Nevada (NV) | DEP | 2015 | BCL | DW | N |  | 0.667 | 0.667 |  |  | 667
|  | New Hampshire (NH) | DES | 2016 | AGQS, MCL | GW/DW | Y | a | 0.012 | 0.015 | 0.011 |  |  | 0.018
|  | New Jersey (NJ) | DEP | 2018 | GWQS | GW | Y |  |  |  | 0.013
|  |  | DEP | 2018 | MCL | DW | Y |  |  |  | 0.013
|  |  | DEP | 2017/2020 | MCL | DW | Y | p | 0.014
|  |  | DEP | 2018/2020 | MCL | DW | Y | p |  | 0.013
|  |  | DEP | 2019/2020 | GWQS | GW | Y |  | 0.014 | 0.013
|  | New York (NY) | DEQ | 2006 | IMAC | GW | Y |  | 2
|  |  | DOH | 2020 | MCL | DW | Y |  | 0.010 | 0.010
|  | North Carolina (NC) | DEQ | 2006 | IMAC | GW | Y |  | 2
|  |  | DHHS | 2017 | Health Goal | DW | N | [20 empty] | 0.14
|  | Ohio (OH) | ODH | 2019 | Action Level | DW | O | l | 0.07 | 0.07 | 0.021 |  | 140 | 0.14 | [13 empty] | 0.7
|  | Oregon (OR) | DEQ | 2011 | IL | SW | Y |  | 24 | 300 | 1 | [5 empty] | 300 | 0.2
|  | Pennsylvania (PA) | DEP | 2016 | MSC | GW | N | a | 0.07 | 0.07
|  | Rhode Island | DEM | 2017 | Groundwater Quality Standard | DW/GW | Y | a | 0.07 | 0.07
|  | Texas (TX) | CEQ | 2016 | Tier 1 PCL | GW | Y |  | 0.29 | 0.56 | 0.29 | 71 | 34 | 0.093 | 0.093 | 0.093 | 0.56 | 0.29 | 0.37 | 0.29
|  | Vermont (VT) | DEC/DOH | 2020 | MCL | DW/GW | Y | o | 0.02 | 0.02 | 0.02 |  |  | 0.02 |  |  | 0.02
|  |  | DEC/DOH | 2018 | HA | DW/GW | Y | o | 0.02 | 0.02 | 0.02 |  |  | 0.02 |  |  | 0.02
|  |  | DEC | 2016 | PAL | GW | Y |  | 0.01 | 0.01 | 0.01 |  |  | 0.01 |  |  | 0.01
PFAS Analyte Concentration (µg/L) and CAS RN
| Location |  | Agency / Dept | Year First Listed | Standard / Guidance | Type | Promulgated Rule (Y/N/O) | Footnote | PFOA | PFOS | PFNA | PFBA | PFBS | PFHxS | PFHxA | PFPeA | PFHpA | PFOSA | PFDA | PFDS, PFUnA, PFDoA, PFTrDA, PFTeDA | [5 empty] | 6:2 FTS |  | Gen-X
International
|  | Australia | DOH | 2017 | health-based | DW |  | g | 0.56 | 0.07 |  |  |  | 0.07
|  |  |  | 2017 | health-based | RW |  | g | 5.6 | 0.7 |  |  |  | 0.7
|  | British Columbia, Canada |  | 2018 | water standard | DW/GW |  |  | 0.2 | 0.3 |  |  | 80
|  | Canada | HC | 2016 | DWSV | DW |  |  | 0.2 | 0.6 | 0.02 | 30 | 15 | 0.6 | 0.2 | 0.2 | 0.2
|  |  | HC | 2019 | DWSV | DW | [19 empty] | 0.2 | 0.2
|  |  | HC | 2018 | MAC | DW | Y |  | 0.2 | 0.6
|  | European Union | EU | 2013 | EQS AAC | SW-inland |  |  |  | 0.00065
|  |  | EU | 2013 | EQS AAC | SW-other |  |  |  | 0.00013
|  |  | EU | 2013 | EQS MAC | SW-inland |  |  |  | 36
|  |  | EU | 2013 | EQS MAC | SW-other |  |  |  | 7.2
|  | Denmark | EPA | 2015 | health-based | DW/GW |  | h | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [6 empty] | 0.1
|  | Germany | GMH | 2006 | health-based | DW |  |  | 0.3 | 0.3
[5 empty] | administrative | DW |  | i | 0.1 | 0.1
|  |  |  | 2018 | GFS | GW |  |  | 0.1 | 0.1 | 0.06 | 10 | 6 | 0.1 | 6
|  | Italy |  | 2017 | health-based | DW |  |  | 0.5 | 0.03 |  | 7 | 3 |  | 1 | 3
|  |  |  | 2017 | screening value | FW |  | j | 0.1 |  |  | 7 | 3 |  | 1 | 3
|  | Netherlands | EPA | 2011 | health-based | DW |  |  |  | 0.53
|  |  |  | 2011 | administrative | DW |  |  |  | 0.0053
|  | Norway |  | 2014 | EQS | SW |  |  | 9.1 | 0.00065
|  |  |  | 2014 | EQS | CW |  |  | 9.1 | 0.00013
|  | Sweden |  | 2014 | health-based | DW |  |  |  | 0.09
|  |  |  | 2014 | administrative | DW |  | k | 0.09 | 0.09 |  |  | 0.09 | 0.09 | 0.09 | 0.09 | 0.09
|  | UK | DWI | 2009 | health-based | DW |  |  | 10 | 0.3
|  |  |  | 2009 | admin. Level 1 | DW |  |  | 0.3 | 0.3
|  |  |  | 2009 | admin. Level 2 | DW |  |  | 10 | 1
|  |  |  | 2009 | admin. Level 3 | DW |  |  | 90 | 9
Notes:
The following states use the EPA Health Advisories: Alabama (AL), Arizona (Az), Colorado (CO), Idaho (ID), Kansas (KS), Kentucky (KY), Maine (ME), Nebraska (NE), and West Virginia (WV).
Promulgated (Yes/No/Other)- Values are considered promulgated if they have been finalized into law or if the table of values is referenced in supporting law. Values are not considered promulgated when they are not finalized into law, but are listed here as they are considered final guidance and are confirmed to be in use by the applicable state. Values identified as "other" include those that are proposed, considered draft, or recommended, but not yet finalized and confirmed to be in use by the applicable state. Refer to "Water Pending Criteria" for proposed values.
Year First Listed is the year the value was first proposed or became effective. References are provided for the most recent publication or adoption date of the values.
a | Applies to the individual results for PFOA and PFOS, as well as the sum of PFOA + PFOS.
b | Regional Screening Level (RSL) as presented in the USEPA Regional Screening Level (RSL) Summary Table (TR=1E-06, HQ=1) November 2014 through May 2018.
c | As of June 2018, calculated by the USEPA RSL calculator using USEPA OW RfDs, HQ of 1, and residential exposure assumptions. Note: RSL users screening sites with multiple contaminants should consult the USEPA (2018) RSL User's Guide and USEPA (1989) Risk Assessment Guidance.
d | The 2018 Colorado Site-specific Groundwater Quality Standard was adopted to provide a cleanup goal for the contaminated aquifer in El Paso County only for PFOS+PFOA combined.
e | Applies to the individual results for PFOA, PFOS, PFDA, PFHpA, PFNA, and PFHxS as well as the sum of concentrations of these 6 PFAS.
f | HBVs are not promulgated values, but are final values that are in use for guidance purposes by MDH and its partner agencies. Short-term HRL and HBV values are available, but are currently equal to subchronic values.
g | The Australian Government Department of Health values for PFOS/PFHxS are combined value when both are present.
h | Applies to the individual results for PFOA, PFOS, PFNA, PFBA, PFBS, PFHxS, PFHxA, PFPeA, PFHpA, PFOSA, PFDA, AND 6:2 FTS as well as the sum of concentrations of these 12 PFAS.
i | The GMH administrative guidance value of 0.1 µg/L is a composite precautionary value for both PFOA and PFOS for long term exposure in drinking water.
j | Annual Average - Environmental Quality Standards. PFOA AA-EQS based on secondary poisoning of wildlife.
k | Administrative value is for the sum of seven PFAS found in drinking water: PFOS, PFOA, PFHxS, PFBS, PFHpA, PFHxA, and PFPeA. PFOS is considered to be the most toxic. Water can still be used at up to 0.09 µg/L.
l | Ohio applies the EPA HA of 70 ppt to PFOA and PFOS individually or the sum of the two
m | Interim screening level for groundwater at sites contaminated with PFOS and PFOA, based on target hazard quotient of 0.1
n | Screening level for surface water for the protection of human health
o | Applies to the sum of PFHxS, PFHpA, PFNA, PFOS, and PFOA.
p | PFOA and PFOS MCLs were first proposed by NJDEP in 2017 and 2018, and were both adopted in 2020.
q | Applies to individual or combined PFOA, PFOS, PFOA and PFOS parent constituents (adjusted), and PFNA. See citation for details
| Regulatory Agency |  |  |  |  | Standard or Guidance | [5 empty] | Per- and polyfluoroalkyl substances | [5 empty] | Type of Medium
| CDC= Center for Disease Control & Prevention |  |  |  |  | AGQS = ambient groundwater quality standard | [5 empty] | PFAS = per- and polyfluoroalkyl substances | [5 empty] | DW = drinking water
| CEQ = Commission on Environmental Quality |  |  |  |  | AAC = annual average concentration | [5 empty] | PFOA = perfluorooctanoic acid (C8) | [5 empty] | FW = fresh water
| DEC = Dept. of Environmental Conservation |  |  |  |  | AL = private well action level | [5 empty] | PFOS = perfluorooctane sulfonic acid (C8) | [5 empty] | GW = groundwater
| DEM = Dept. of Environmental Management |  |  |  |  | BCL = basic comparison level | [5 empty] | PFNA = perfluorononanoic acid (C9) | [5 empty] | RW = recreational water
| DEP = Dept. of Environmental Protection |  |  |  |  | CL = groundwater cleanup level | [5 empty] | PFBA = perfluorobutyric acid (C4) | [5 empty] | SW = surface water and/or effluent
| DEQ = Dept. of Environmental Quality |  |  |  |  | CW = Coastal Water | [5 empty] | PFBS = perfluorobutane sulfonic acid (C4)
| DES = Dept. of Environmental Services |  |  |  |  | DWSV = Drinking Water Screening Value | [5 empty] | PFPeA = perfluoropentanoic acid (C5)
| DHHR = Dept. of Health and Human Resources |  |  |  |  | ES = environmental standard | [5 empty] | PFHxS = perfluorohexane sulfonic acid (C6)
| DHHS = Dept. of Health and Human Services |  |  |  |  | EQS = environmental quality standard | [5 empty] | PFHxA = perfluorohexanoic acid (C6)
| DNR = Dept. of Natural Resources |  |  |  |  | EQSD = environmental quality standard doughter | [5 empty] | PFHpA = perrfluoroheptanoic acid (C7)
| DNREC = Dept. of Natural Resources and Environmental Control |  |  |  |  | GCC = Generic Cleanup Criteria | [5 empty] | PFOSA = perfluorooctane sulfonamide (C8)
| DOH = Dept. of Health |  |  |  |  | GFS = significance thresholds | [5 empty] | PFDA = perfluorodecanoic acid (C10)
| DPH = Division or Department of Public Health |  |  |  |  | GQS = Site-Specific Groundwater Quality Standard | [5 empty] | PFDS = perfluorodecane sulfonate (10)
| DPHE = Department of Public Health and Environment |  |  |  |  | GTLC = groundwater cleanup target levels | [5 empty] | PFUnA = perfluoroundecanoic acid (C11)
| DWI = Drinking Water Inspectorate |  |  |  |  | GWQS = Groundwater Water Quality Standard | [5 empty] | PFDoA = perfluorododecanoic acid (C12)
| DWQI = NJ Drinking Water Quality Institute |  |  |  |  | HA = lifetime health advisory | [5 empty] | PFTrDA = perfluorotridecanoic acid (C13)
| DWSV = Drinking Water Screening Value |  |  |  |  | HNV = human noncancer value for surface drinking water | [5 empty] | PFTeDA = perfluorotetradecanoic acid (C14)
| EA = Environment Agency |  |  |  |  | HBV = health-based value | [5 empty] | 6:2 FTS = 6:2 Fluorotelomer sulfonate
| EC = European Commission |  |  |  |  | HRL = health risk limit | [5 empty] | 8:2 FTS = 8:2 Fluorotelomer sulfonate
| EPA = Environmental Protection Agency |  |  |  |  | IL = initiation level
| GMH = German Ministry of Health |  |  |  |  | IMAC = interim maximum allowable standard
| MDH = Minnesota Department of Health |  |  |  |  | ISGWQS = Interim Specific Ground Water Quality Standard
| OEHS = Office of Environmental Health Services |  |  |  |  | MAC = maximum acceptable/allowable concentration
| OLEM = Office of Land and Emergency Management |  |  |  |  | MCL = maximum contaminant level
| SWRCB = California State Water Resources Control Board |  |  |  |  | MEG = maximum exposure guideline
| WQCC = Water Quality Control Commission |  |  |  |  | MSC = medium-specific concentration
NL = Notification Level
PAL = preventive action level
PCL = protective concentration level
PGCTL = provisional groundwater target cleanup level
PGWES = primary groundwater enforcement standard
PHG = public health goal
RAG = remedial action guideline
RL = reporting level
RL (CA) = Response Level (California only)
RSL = regional screening level
SL = screening Level
TL = translation level

## Water References
September 2020
References for Standards and guidance values for PFAS in groundwater, drinking water, and surface water/effluent (wastewater).
REFERENCES: UNITED STATES ENVIRONMENTAL PROTECTION AGENCY (USEPA) |  | WEBSITE SOURCE
USEPA | USEPA. 1989. Risk Assessment Guidance for Superfund (RAGS), Volume 1, Human Health Evaluation Manual (Part A). Interim Final. EPA/540/1-89/002. December. | https://www.epa.gov/sites/production/files/2015-09/documents/rags_a.pdf
| USEPA. 2016. Drinking Water Health Advisory for Perfluorooctanoic Acid (PFOA). Office of Water (4304T). Health and Ecological Criteria Division, Washington, DC 20460. EPA Document Number: 822-R-16-005. May 2016. | https://www.epa.gov/sites/production/files/2016-05/documents/pfoa_health_advisory_final_508.pdf
| USEPA. 2016. Drinking Water Health Advisory for Perfluorooctane Sulfonate (PFOS). Office of Water (4304T). Health and Ecological Criteria Division, Washington, DC 20460. EPA Document Number: 822-R-16-004. May 2016. | https://www.epa.gov/sites/production/files/2016-05/documents/pfos_health_advisory_final_508.pdf
| USEPA. 2020. Regional Screening Levels (RSLs), RSL User's Guide, and RSL Calculator. May. | https://www.epa.gov/risk/regional-screening-levels-rsls
| USEPA. 2019. Interim recommendations to address groundwater contaminated with PFOA and PFOS. | https://www.epa.gov/sites/production/files/2019-12/documents/epas_interim_recomendations_for_addressing_groundwater_contaminated_with_pfoa_and_pfos_dec_2019.pdf
REFERENCES: UNITED STATES
AL | Alabama Department of Environmental Management (ADEM). ADEM Announces EPA National Health Advisory. May 19, 2016. | http://www.adem.state.al.us/newsEvents/pressreleases/2016/ADEMEPAHealthAdvisory.pdf
AK | Alaska Department of Environmental Conservation (AKDEC). 2018. 18 AAC 75. Oil and Other Hazardous Substances Pollution Control. As amended through October 27, 2018. | https://dec.alaska.gov/commish/regulations/
AKDEC. 2018. Technical Memorandum, Action Levels for PFAS in Water and Guidance on Sampling Groundwater and Drinking Water. August 20.
AKDEC. 2019. Technical Memorandum, Action Levels for PFAS in Water and Guidance on Sampling Groundwater and Drinking Water. April 9.
| AKDEC. 2019. Technical Memorandum Action Levels for PFAS in Water and Guidance on Sampling Groundwater and Drinking Water. October 2. | https://dec.alaska.gov/spar/csp/pfas/.
AZ | Liberty Utilities. 2017. Notice to Our Communities: Avondale, Goodyear, Litchfield Park, and Maricopa County. Notice in response to EPA Drinking Water Health Advisories for PFOS and PFOA. | https://arizona.libertyutilities.com/glendale/residential/news/pfos-and-pfoa.html
CA | California State Water Resources Control Board. (SWRCB). 2018. Division of Drinking Water (DDW). Drinking Water Notification Levels and Response Levels: An Overview. July 13.
| California SWRCB DDW Guidelines for Testing and Reporting PFOA and PFOS August 23, 2019. | https://www.waterboards.ca.gov/press_room/press_releases/2019/pr082319_pfoa_pfos_guidelines_news_release.pdf
| California SWRC.B PFOA and PFOS Response Levels for Drinking Water Systems. February 06, 2020 | https://www.waterboards.ca.gov/press_room/press_releases/2020/pr02062020_pfoa_pfos_response_levels.pdf
CT | Connecticut Department of Public Health (CTDPH). 2016. Drinking Water Action Level for Perfluorinated Alkyl Substances (PFAS). December. | https://portal.ct.gov/-/media/Departments-and-Agencies/DPH/dph/environmental_health/eoha/Toxicology_Risk_Assessment/2018-uploads/Perfluoroalkyl-Substances-PFASs-in-DWHealth-Concerns.pdf?la=en
CO | Colorado Department of Public Health and the Environment (CDPHE). PFCs Health Advisory, 2018. | https://www.colorado.gov/pacific/cdphe/PFCs/health/advisory
| Colorado Department of Public Health and the Environment (CDPHE). Site-specific Groundwater Standard PFOA/PFOS in El Paso County. Adopted by the Water Quality Control Commission on April 9, 2018. The groundwater quality standard becomes effective on June 30, 2018. | https://www.colorado.gov/pacific/sites/default/files/WQ_GWStandard_PFOA_100417%20FINAL.pdf
| Colorado Water Quality Control Commission (WQCC). 2020. Policy 20-1: Policy for Interpreting the Narrative Water Quality Standards for Per- and Polyfluoroalkyl Substances (PFAS). July 14. | https://drive.google.com/file/d/119FjO4GZVaJtw7YFvFqs9pmlwDhDO_eG/view
DE - RL | Delaware Department of Natural Resources and Environmental Control (DNREC). 2016. Guidance for Notification Requirements. January 2013. Reporting Level Table. Updated July 2016. Division of Waste and Hazardous Substances. Site Investigation & Restoration Section. July 2016.
DE - SL | Delaware Department of Natural Resources and Environmental Control (DNREC). 2016. Screening Level Table. Division of Waste and Hazardous Substances. Site Investigation & Restoration Section. January 1, 2013. Last Updated July 2016.
DE - SL | Delaware Department of Natural Resources and Environmental Control (DNREC). 2018. Policy for Sampling and Analysis of PFAS in Groundwater and Surface Water. Division of Waste and Hazardous Substances. Last Updated July 2 2018. | http://www.dnrec.delaware.gov/dwhs/SIRB/Documents/DWHS%20PFAS%20Sampling%20Policy.pdf
FL - SL | Florida Department of Environmental Protection(FDEP). 2019. Provisional PFOA and PFOS Cleanup Target Levels/Screening Levels | https://floridadep.gov/waste/district-business-support/content/contaminated-media-forum
ID | Idaho Department of Environmental Quality. | https://www.deq.idaho.gov/water-quality/drinking-water/drinking-water-health-advisories/
IA | Iowa Department of Natural Resources (IDNR). 2016. Statewide standards for contaminants in soil and groundwater. Cumulative Risk Calculator. | https://programs.iowadnr.gov/riskcalc/Home/statewidestandards
IN | Remediation Closure Guide Screening Levels. Table A-6, 2020 Screening Levels | https://www.in.gov/idem/cleanups/files/risc_screening_table_2020_a6.pdf
KY | Kentucky Environmental Protection Division of Water. | https://eec.ky.gov/Documents%20for%20URLs/PFAS%20Drinking%20Water%20Report%20Final.pdf
MA | Massachusetts Department of Environmental Protection (MassDEP), 2018. Office of Research and Standards Final Recommendations for Interim Toxicity and Drinking Water Guidance Values for Perfluorinated Alkyl Substances Included in the Unregulated Chemical Monitoring Rule 3. June 8. | https://www.mass.gov/doc/final-pfas-related-changes-to-the-mcp-2019-12-13/download
| MassDEP, 2019. 310 CMR 40.0000 Department of Environmental Protection. Massachusetts Contingency Plan. 27 December. | https://www.mass.gov/doc/per-and-polyfluoroalkyl-substances-pfas-an-updated-subgroup-approach-to-groundwater-and/download
| Mass DEP 2019. PFAS: An updated sub-group approach to groundwater and drinking water values. | https://www.mass.gov/files/documents/2019/12/27/PFAS%20TSD%202019-12-26%20FINAL.pdf
ME -DW | Maine Center for Disease Control and Prevention (Me CDC). 2017. Summary of the 2016 Updates to the Maximum Exposure Guidelines. Published January 10, 2017.
ME -GW & DW | Maine Department of Environmental Protection (DEP). 2018. Maine Remedial Action Guidelines (RAGs) for Sites Contaminated with Hazardous Substances. October 19 (p. 58). | https://www.maine.gov/dep/spills/publications/guidance/rags/ME-Remedial-Action-Guidelines-10-19-18cc.pdf
ME-GW SLs | Maine Center for Disease Control and Prevention (CDC). 2016. Interdepartmental Memo from MeCDC to DEP regarding Human Health Risk-Based Screening Levels for Perfluoroalkyl Compounds. August 17. Contact Maine CDC for Copy of this Reference.
ME-SW/RW | Maine Center for Disease Control and Prevention (CDC). 2016. Interdepartmental Memo from MeCDC to DEP regarding Human Health Risk-Based Screening Levels for Perfluoroalkyl Compounds. August 17. Contact Maine CDC for Copy of this Reference.
MI-SW | Michigan Department of Environmental Quality (DEQ). 2016. Rule 57 Water Quality Values. Surface Water Assessment Section. October 21, 2016.
MI-GW | Michigan Department of Environmental Quality (DEQ). 2018. Remediation and Redevelopment Division. Environmental Contamination Response Activity Rules. Table 1. Groundwater: Residential and Nonresidential, Part 201 Generic Cleanup Criteria and Screening Levels. Effective January 10, 2018. | https://www.michigan.gov/documents/deq/deq-rrd-UpdatedGroundwaterCleanupCrieriaTableWithFootnotesPFOSPFOA1-25-2017_610379_7.pdf
MI-GW | Michigan Department of Health and Human Services (DHHS). 2019. Public Health Drinking Water Screening Levels for PFAS. February 22, 2019. Adopted April 4, 2019. | https://www.michigan.gov/documents/pfasresponse/MDHHS_Public_Health_Drinking_Water_Screening_Levels_for_PFAS_651683_7.pdf
MI-DW MCL | Michigan Department of Environment, Great Lakes, and Energy (EGLE). 2020. State Drinking Water Standards under section 5 of the State Drinking Water Act, 1976 PA 299 [MCL 325.1005]. Effective August 3. | https://content.govdelivery.com/accounts/MIDEQ/bulletins/298c5fe
MN | Minnesota Department of Health (MDH). 2019. Human Health-Based Water Guidance Table. | https://www.health.state.mn.us/communities/environment/risk/guidance/gw/table.html#ns
MT | Montana Department of Environmental Quality (DEQ). 2019. Circular DEQ-7, Montana Numeric Water Quality Standards. June. | http://deq.mt.gov/water/resources/Circulars
NV | Nevada Division of Environmental Protection (DEP). 2017. Basic Comparison Levels, July 2017. | https://ndep.nv.gov/uploads/documents/july-2017-ndep-bcls.pdf
NH | New Hampshire State Senate Bipartisan Clean Water Legislation, July 23, 2020. | http://gencourt.state.nh.us/bill_status/billText.aspx?sy=2020&id=1825&txtFormat=html
NJ -GW: PFNA | State of New Jersey Department of Environmental Protection. 2016. Ground Water Quality Standards N.J.A.C. 7:9C: Interim Ground Water Quality Criteria Table. Last Updated August 12, 2016. | https://www.nj.gov/dep/rules/rules/njac7_10.pdf
NJ -GW: PFOA/PFOS | State of New Jersey Department of Environmental Protection. 2019. Ground Water Quality Standards N.J.A.C. 7:9C: Interim Ground Water Quality Criteria Table. Last Updated March 13, 2019. | https://www.nj.gov/dep/rules/rules/njac7_9c.pdf
NJ -DW: PFNA | New Jersey Drinking Water Quality Institute (NJDWQI) 2018. Maximum Contaminant Level Recommendation for Perfluorononanoic Acid in Drinking Water. July 1, 2015. New Jersey Department of Environmental Protection. Adopted September 4, 2018. | https://www.state.nj.us/dep/watersupply/pdf/pfna-recommend-final.pdf; https://www.nj.gov/dep/rules/adoptions/adopt_20180904a.pdf
Table of Interim Specific Ground Water Quality Criteria (ISGWQC), Interim PQLs (IPQLs), and Interim Specific Ground Water Quality Standards (ISGWQS) for Constituents in Class II-A Ground Water, May 2019.
| Appendix Table 1 - Specific Ground Water Quality Criteria (GWQS), PQLs, and Constituent Standards for Class II Ground Water, June 24, 2020. | https://www.nj.gov/dep/wms/bears/gwqs.htm
NJ -DW | State of New Jersey Department of Environmental Protection. Memorandum to Barker Hamill, Assistant Director for Water Supply Operations, from Gloria Post, Ph.D. DABT, Research Scientist, Risk Analysis Section, DSRT. Subject: Guidance for PFOA in Drinking Water at Pennsgrove Water Supply Company. | NJ Department of Environment Protection News Release (April 1, 2019), https://www.nj.gov/dep/newsrel/2019/19_0021.htm; see Legislative bill (No. 2523, 219th legislature).
New Jersey Drinking Water Quality Institute (NJDWQI) 2017. Maximum Contaminant Level Recommendation for Perfluorooctanoic Acid in Drinking Water, Basis and Background. New Jersey Department of Environmental Protection. March 15, 2017.
| New Jersey Drinking Water Quality Institute (NJDWQI) 2018. Maximum Contaminant Level Recommendation for Perfluorooctane Sulfonate in Drinking Water. New Jersey Department of Environmental Protection. June 8. | https://www.nj.gov/dep/rules/notices/20190401a.html
| New Jersey Drinking Water Quality Institute (NJDWQI) 2018. Maximum Contaminant Level Recommendation for Perfluorononanoic Acid in Drinking Water. July 1, 2015. New Jersey Department of Environmental Protection. | https://www.nj.gov/dep/rules/notices/20190401a.html
| MCL for PFNA published and adopted, September 4, 2018. New Jersey Department of Environmental Protection. | https://www.nj.gov/dep/rules/adoptions/adopt_20180904a.pdf | https://www.nj.gov/dep/rules/adoptions/adopt_20180116c.pdf
| MCLs for PFOA (14 ppt) and PFOS (13 ppt) adopted and published in New Jersey Register, June 01, 2020 | https://www.nj.gov/dep/newsrel/2020/20_0025.htm
NY-DW | MCLs for PFOA (10 ppt) and PFOS (10 ppt) adopted and published in the New York Register, August 26, 2020. | https://www.dos.ny.gov/info/register/2020/082620.pdf
NC-GW | North Carolina Department of Environmental Quality (NCDEQ) 2013. Appendix #1: Interim maximum allowable concentrations (IMACs). May 22, 2013. | https://deq.nc.gov/about/divisions/water-resources/planning/classification-standards/groundwater-standards
NC-DW | North Carolina Department of Health and Human Services (NC DHHS). 2017. GenX Health Information. | https://www.ncdhhs.gov/news/press-releases/state-releases-first-water-quality-data-updated-health-information-genx-cape https://files.nc.gov/ncdeq/GenX/GenX%20factsheet%20FINAL%2013Sep2017.pdf
OH | Ohio Environmental Protection Agency and Department of Health. 2019. Ohio Per- and Polyfluoroalkyl Substances (PFAS) Action Plan for Drinking Water. December. | https://content.govdelivery.com/attachments/OHOOD/2019/12/02/file_attachments/1335154/PFAS%20Action%20Plan%2012.02.19.pdf and https://epa.ohio.gov/Portals/28/documents/pfas/PFASActionPlan.pdf
OR | Oregon Department of Environmental Quality (DEQ). Division 045. Regulations Pertaining to NPDES and WPCF Permits. Initiation Level Rule 340-045-0100. | https://secure.sos.state.or.us/oard/viewSingleRule.action?ruleVrsnRsn=256058
| Addressing PFAS in Oregon public website for status of regulation. | https://www.oregon.gov/deq/Hazards-and-Cleanup/ToxicReduction/Pages/PFAS-in-Oregon.aspx
PA | Pennsylvania Department of Environmental Protection (DEP). 2016. PFOA & PFOS Drinking Water Health Advisories in Pennsylvania. | https://www.dep.pa.gov/Citizens/My-Water/drinking_water/PFAS/Pages/default.aspx
RI | Rhode Island Department of Environmental Management (RIDEM). 2017. Determination of a Groundwater Quality Standard for: Perfluorooctanoic Acid (PFOA) and Perfluorooctane Sulfonate (PFOS). October 18. | http://www.dem.ri.gov/programs/water/quality/groundwater/
TX | Texas Commission on Environmental Quality (TCEQ). 2018. Texas Risk Reduction Program (TRRP). Protective Concentration Levels (PCLs). April. | https://www.tceq.texas.gov/remediation/trrp/trrppcls.html
VT | Vermont Department of Health (DOH). 2018. Fact Sheet. Perfluoroalkyl and Polyfluoroalkyl Substances (PFAS) in Drinking Water. July 9.
Vermont Department of Health (DOH). 2018. Memorandum regarding Drinking Water Health Advisory for Five PFAS (per-and polyfluorinated alkyl substances). July 10.
| Vermont Legislature signed Act 21 (S.49) relating to the regulation of PFAS in drinking and surface waters. | https://legislature.vermont.gov/Documents/2020/Docs/ACTS/ACT021/ACT021%20As%20Enacted.pdf
| Vermont Agency of Natural Resources, Department of Environmental Conservation. 2018. Chapter 12 of the Environmental Protection Rules: Groundwater Protection Rule and Strategy. Adopted July 11, 2018. | https://www.healthvermont.gov/environment/drinking-water/perfluoroalkyl-and-polyfluoroalkyl-substances-pfas-drinking-water
Vermont Agency of Natural Resources, Department of Environmental Conservation. 2019. Chapter 12 of the Environmental Protection Rules: Groundwater Protection Rule and Strategy. Adopted January 8, 2018.
WV | West Virginia Department of Health and Human Resources. 2016. Perfluorinated compounds drinking water health advisory. Bureau of Public Health. | https://dhhr.wv.gov/bph/Pages/default.aspx
REFERENCES: INTERNATIONAL
Australia | Australian Government Department of Health. 2019. Health Based Guidance Values for PFAS. For Use in Site Investigations in Australia. September | https://www1.health.gov.au/internet/main/publishing.nsf/Content/2200FE086D480353CA2580C900817CDC/$File/HBGV-Factsheet-20190911.pdf
British Columbia | British Columbia Office of Legislative Counsel, Ministry of Attorney General, Victoria, British Columbia. Environmental Management Act. Contaminated Sites Regulation. B.C. Rg. 375/96. July 24, 2018. | http://www.bclaws.ca/civix/document/id/complete/statreg/375_96_00
Canada | Health Canada. 2016. Health Canada's Drinking Water Screening Values for Perfluoroalkylated Substances (PFAS). February 2016. Updated July 2018. | https://scottreid.ca/wp-content/uploads/2016/03/Health-Canada-PFAS-Screening-Values-Fact-Sheet-EN.pdf
Health Canada. 2018. Guidelines for Canadian Drinking Water Quality, Guideline Technical Document. Perfluorooctane Acid (PFOA). December 2018.
Health Canada. 2018. Guidelines for Canadian Drinking Water Quality, Guideline Technical Document. Perfluorooctane Sulfonate (PFOS). December 2018.
Health Canada. 2019. Summary Table: Health Canada Draft Guidelines, Screening Values and Toxicological Reference Values (TRVs) for Perfluoroalkyl Substances (PFAS). February, 2019.
| Health Canada. 2019. Water Talk - Drinking Water and Perfluoroalkyl Substances (PFAS). April, 2019. | https://www.canada.ca/en/services/health/publications/healthy-living/water-talk-drinking-water-screening-values-perfluoroalkylated-substances.html
Denmark | Danish Ministry of the Environment. 2015. Perfluoroalkylated substances: PFOA, PFOS and PFOSA. Evaluation of health hazards and proposal of a health based quality criterion for drinking water, soil and ground water. Environmental project No. 1665, 2015. | https://www2.mst.dk/Udgiv/publications/2015/04/978-87-93283-01-5.pdf
Germany | German Ministry of Health at the Federal Environment Agency. Assessment of PFOA in the drinking water of the German Hochsauerlandkreis. Statement by the Drinking Water commission (Trinkwasserkommission) of the German Ministry of Health at the Federal Environment Agency. June 21, 2006/revised July 13, 2006. | https://www.bmu.de/en/topics/health-chemical-safety-nanotechnology/chemical-safety/pops/
| von der Trenck et al. 2018. Significance thresholds for the assessment of contaminated groundwater: perfluorinated and polyfluorinated chemicals. Environ Sci Eur (2018) 30:19. | https://www.researchgate.net/publication/325635181_Significance_thresholds_for_the_assessment_of_contaminated_groundwater_perfluorinated_and_polyfluorinated_chemicals
Italy | Valsecchi, S.. Et al. Deriving environmental quality standards for perfluorooctanoic acid (PFOA) and related short chain perfluorinated alkyl acids. Journal of Hazardous Materials. Volume 323, Part A, 5 February 2017, Pages 84-98.
| Ministerial Decree (no. 2565-P-DGPRE), passed on 29 January 2014. Threshold values for PFAS in Drinking Water. | http://www.euro.who.int/__data/assets/pdf_file/0018/340704/FINAL_pfas-report-20170530-h1200.pdf
Netherlands | Rijksinstituut voor Volksgezondheid en Milieu. Verkenning doelstelling voor herstel verontreiniging met PFOS. Versie mei 2011.
Norway | NIVA og NGI. 2014. Kvalitetssikring av miljokvalitetsstandarder. September.
Sweden | Concawe. 2016. Environmental fate and effects of poly- and perfluoroalkyl substances (PFAS). Report no. 8/16. | https://www.concawe.eu/wp-content/uploads/2016/06/Rpt_16-8.pdf
UK | United Kingdom Drinking Water Inspectorate (DWI). Guardians of drinking water quality. 2009. Guidance on the Water Supply (Water Quality) Regulations 2000 specific to PFOS (perfluorooctane sulphonate) and PFOA (perfluorooctanoic acid) concentrations in drinking water. October 2009. | http://www.dwi.gov.uk/stakeholders/information-letters/2009/10_2009annex.pdf
European Union (EU) | European Union. 2018. Proposal for a directive of the European Parliament and of the Council on the quality of water intended for human consumption (recast). Brussels, 1.2.2018 COM(2017) 753 final. 2017/0332(COD). | https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1519210589057&uri=CELEX:52017PC0753
https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32013L0039&from=EN

## Water Pending Criteria
September 2020
UPDATES Standards and guidance values for PFAS in groundwater, drinking water, and surface water/effluent (wastewater).
This Table belongs with the ITRC PFAS Technical and Regulatory Guidance Document. The information presented below represents anticipated or pending updates we are aware of as of the end of the calendar month for which this table is prepared. The ITRC intends to update the Water Table as the anticipated or pending values are finalized and/or made available for use by the issuing body. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file. Please see ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
Date | State/Country | Author | Pending Action | Website Source | Draft Document
Pending as of September 30, 2020
2020-09-01 | Illinois | IEPA | Proposed Groundwater Quality Standards for 5 PFAS, PFBS 140 ug/L, PFHxS 0.14 ug/L, PFNA 0.021 ug/L, PFOS 0.014 ug/L, PFOA 0.021 ug/L | https://www2.illinois.gov/epa/topics/water-quality/pfas/Pages/pfas-groundwater-standards.aspx | General procedures for Groundwater Standards Development 2020, Appendix A (not specific to PFAS). https://www.ilga.gov/commission/jcar/admincode/035/03500620ZZ9996aR.html
2020-09-24 | Massachusetts | MassDEP | Drinking water MCLs for PFAS6 (PFOS, PFOA, PFHxS, PFNA, PFHpA, PFDA) were adopted, effective October 02, 2020 | https://www.mass.gov/news/baker-polito-administration-establishes-strict-standards-for-pfas-in-drinking-water-to-protect; https://www.mass.gov/doc/pfas-mcl-revisions-to-310-cmr-2200-clean-version-9-16-2020/download
July 2020 | Hawaii | HI DOH | Soil and Water Environmental Action Levels on 18 PFAS, to be finalized in Fall 2020 | https://health.hawaii.gov/heer/guidance/additional-guidance-documents/ | https://health.hawaii.gov/heer/files/2020/07/PFASs-Techncal-Memo-HDOH-July-2020.pdf
February 2020 | Pennsylvania | PA EQB | Draft cleanup standards for PFOA, PFOS, and PFBS. | https://www.pacodeandbulletin.gov/secure/pabulletin/data/vol50/50-7/50_7_prm.pdf
November 2019 | Washington | WADOH/EPHS | Draft recommended state action levels for PFOA, PFOS, PFNA, PFHxS, and PFBS. Promulgation expected January 2021. | https://www.doh.wa.gov/CommunityandEnvironment/DrinkingWater/RegulationandCompliance/RuleMaking https://www.doh.wa.gov/Portals/1/Documents/4200/PFAS-Timeline.pdf | https://www.doh.wa.gov/Portals/1/Documents/4200/PFASToxicologicalAssessment.pdf
February 2018 | European Union | European Commission | Proposed directive is to regulate individual PFAS at 0.1 µg/L and Total PFAS at 0.5 µg/L. | https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1519210589057&uri=CELEX:52017PC0753 | European Union. 2018. Proposal for a directive of the European Parliament and of the Council on the quality of water intended for human consumption (recast). Brussels, 1.2.2018 COM(2017) 753 final. 2017/0332(COD).
February 2019 | U.S. | USEPA | PFAS Action Plan including development of Maximum Contaminant Levels (MCL) for PFOA and PFOS | https://www.epa.gov/sites/production/files/2019-02/documents/pfas_action_plan_021319_508compliant_1.pdf | EPA's Per-and Polyfluoroalkyl Substances (PFAS) Action Plan, February 2019.
April 2019 | U.S. | USEPA | Draft interim recommendations for (1) screening level set to Hazard Quotient of 0.1 for PFOA or PFOS individually, which is currently 40 ng/L (0.040 µg/L), and (2) use of the USEPA HA for PFOA and PFOS of 70 ppt (0.070 µg/L) as the preliminary remediation goal (PRG) for groundwater that is a current or potential source of drinking water, where no state or tribal MCL or other ARARs exist. | https://www.epa.gov/pfas/draft-interim-recommendations-addressing-groundwater-contaminated-pfoa-and-pfos | https://www.epa.gov/sites/production/files/2019-04/documents/draft_interim_recommendations_for_addressing_groundwater_contaminated_with_pfoa_and_pfos_public_comment_draft_4-24-19.508post.pdf
November 2018 | U.S. | ATSDR | Minimal Risk Levels (MRLs) and Environmental Media Evaluation Guides (EMEGs) for PFAS identified pending finalization of draft toxicological profile | https://www.atsdr.cdc.gov/pfas/mrl_pfas.html
July 2019 | Alaska | DEC | The proposed amendments for establishing GW cleanup levels for PFBS, PFHpA, PFHxS, PFNA, PFOS and PFOA are on hold indefinitely by the department pending further action by EPA. Public comment period closed November 2018. | http://dec.alaska.gov/spar/regulation-projects/pfas-cleanup-level-amendments/ | 18 AAC 75, Oil and Other Hazardous Substances Pollution Control, Public Comment Draft, October 1, 2018
June 2019 | Florida | DEP | Provisional cleanup target levels for PFOS/PFOA in soil groundwater; development of surface water screening levels; consideration of other PFAS compounds. | https://floridadep.gov/waste/district-business-support/content/contaminated-media-forum | Chapter 62-780.150 and 62-780.650
June 21, 2019 | Wisconsin | DHS | Recommended groundwater enforcement standards and preventive action limits for PFOA (20 ng/L) and PFOS (20 ng/L) individually or combined. | https://www.dhs.wisconsin.gov/water/gws.htm ; https://dnr.wi.gov/topic/contaminants/PFAS.html

## Water Updates
September 2020
UPDATES Standards and guidance values for PFAS in groundwater, drinking water, and surface water/effluent (wastewater).
This Table belongs with the ITRC PFAS Technical and Regulatory Guidance Document. The values included here reflect values we are aware of as of the end of the calendar month for which this table is prepared. These values are changing rapidly. The ITRC intends to update the Water Table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file. Please see ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
September 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
2020-09-24 | Massachusetts | PFAS6 (PFOS, PFOA, PFHxS, PFNA, PFHpA, PFDA) | Drinking water MCLs were adopted, effective October 02, 2020 | https://www.mass.gov/doc/pfas-mcl-revisions-to-310-cmr-2200-clean-version-9-16-2020/download
August 2020 Update: What's New
2020-08-26 | New York | PFOA and PFOS | Drinking water MCLs were adopted, effective August 26, 2020 | https://www.dos.ny.gov/info/register/2020/082620.pdf
2020-08-03 | Michigan | PFNA, PFOA, PFHxA, PFOS, PFHxS, PFBS and HFPO-DA | Drinking water MCLs and groundwater standards were adopted, effective August 3, 2020 | https://content.govdelivery.com/accounts/MIDEQ/bulletins/296ee62
July 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
2020-07-14 | Colorado | PFOS, PFOA, PFHxS, PFBS, parent constituents of PFOS and PFOA | Water Quality Control Commission adopted numeric translation values to interpret narrative criteria | https://drive.google.com/file/d/119FjO4GZVaJtw7YFvFqs9pmlwDhDO_eG/view
July 23, 2020 | New Hampshire | PFOS, PFOA, PFNA, PFHxS | NH Gov signed bill reinstating criteria for formerly enjoined PFAS compounds. | http://gencourt.state.nh.us/senate/newsroom/2020/072320%20PRESS%20RELEASE%20Senators%20Sherman,%20Watters,%20and%20Chandley%20on%20Signing%20of%20HB%201264.pdf
June 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
June 01, 2020 | New Jersey | PFOS, PFOA | MCLs for PFOA (14 ppt) and PFOS (13 ppt) approved and published in New Jersey Register, effective June 01, 2020 | https://www.nj.gov/dep/newsrel/2020/20_0025.htm
May 2020 Update: What's New
No updates
April 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
March 17, 2020 | Vermont | PFHpA, PFHxS, PFNA, PFOA, and PFOS | DW/GW MCL adopted for the sum of the 5 compounds at 20 ppt. | https://dec.vermont.gov/water/laws ; https://dec.vermont.gov/sites/dec/files/dwgwp/DW/Water-Supply-Rule-March-17-2020.pdf
March 2020 Update: What's New
No updates
February 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
2020 | California | PFOS, PFOA | Response Levels lowered for Drinking Water Systems | https://www.waterboards.ca.gov/press_room/press_releases/2020/pr02062020_pfoa_pfos_response_levels.pdf
2019 | Delaware | PFBS | Removal of both the water and soil screening levels for PFBS. | http://www.dnrec.delaware.gov/dwhs/SIRB/Documents/HSCA%20Screening%20Level%20Table%20-%20Nov%202019.pdf
January 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
2019 | Florida | PFOS, PFOA | Provisional groundwater cleanup target levels and surface water screening levels posted on Contaminated Media Forum, although document is undated and date of posting is unknown. | https://floridadep.gov/waste/district-business-support/content/contaminated-media-forum
2019-12-31 | New Hampshire | PFOA, PFOA, PFNA, PFHxS | Injunction goes into effect thereby rolling back the revised lower standards for four PFAS chemicals. The former AGQS rule of 70 ppt for PFOA, PFOS, or combined concentrations of the two chemicals, as adopted by NHDES in 2016, remains in effect while the 2019 rules are under an injunction. Rolled back standards moved to the pending tab. | https://www4.des.state.nh.us/nh-pfas-investigation/?p=1185
December 2019 Update: What's New
Date | State/Country | Chemical | Update | Website Source
2019-12-20 | USEPA | PFOS, PFOA | Added interim recommendations for groundwater screening levels and tech memo.
2018-04-09 | Colorado | PFOS+PFOA combined | Expanded footnote 'd', based on weblink | https://www.colorado.gov/pacific/cdphe/PFCs/water/gwstandard
2019-12-13 | Massachusetts | PFOS, PFOA, PFHxS, PFHpA, PFNA, PFDA | Added note on Final MCP amendments to become effective 12/27. | https://www.mass.gov/doc/final-pfas-related-changes-to-the-mcp-2019-12-13/download
November 2019 Update: What's New
Date | State/Country | Chemical | Update
2019-11-07 | US | PFDA, PFNA, PFHxA, PFHxS, PFBA | EPA releases Systematic Review Protocol for IRIS toxicity assessments, for 45-day public comment period | https://www.epa.gov/newsreleases/epa-continues-progress-under-pfas-action-plan
2014 | Italy | PFOS | Updated Drinking Water value
2018-02-01 | EU | Individual and Total PFAS | Added proposed drinking water directive values for EU
October 2019 Update: What's New
Date | State/Country | Chemical | Update
2019-10-19 | Minnesota | PFOA, PFOS, PFBA, PFBS, PFHxS | Correction to representation of values. HRLs and HBVs are now presented in separate rows with clarifications to note "f".
2019-10-11 | Michigan | PFNA, PFOA, PFHxA, PFOS, PFHxS, PFBS, GenX | Updated timeline for formal rule making under "Pending Criteria" tab.
September 2019 Update: What's New
Date | State/Country | Chemical | Update
2019-03-01 | Indiana | PFBS, PFOA/PFOS | Added criteria for PFBS. Removed Indiana from note on row 75 due to lack of publically available information indicating the use of the EPA HA.
2019-09-01 | California | PFOA/PFOS | Updated notification levels.
2019-09-01 | Indiana, Missouri, Wyoming | PFOA/PFOS | Removed from note on row 75 as no publically available information regarding use of EPA HA could be identified.
2019-09-01 | New Hampshire | PFOA, PFOS, PFNA, PFHxS | Criterial effective September 30 and moved from Pending tab to "Table 4-1 Water" tab.
July/August 2019 Update: What's New
Date | State/Country | Chemical | Update
July 24, 2019 | New York | PFOA/PFOS | Added notice of proposed rulemaking by NYDEH to adopt MCLs for PFOS and PFOA, after 60-day public comment period to "Table 4-1 Pending" tab in this workbook
April 24, 2019 | Massachusetts | PFOS, PFOA, PFNA, PFHxS, and PFHpA | Updated note in "Table 4-1 Pending" tab in this workbook to include risk information.
April 9, 2019 | Alaska | PFBS, PFHpA, PFHxS, PFNA, PFOS and PFOA | Updated note "Table 4-1 Pending" tab in this workbook to reference proposed standard on hold indefinitely.
June | Florida | PFOA/PFOS | Added comment "Table 4-1 Pending" tab in this workbook regarding the provisional alternative groundwater and soil cleanup target levels.
May 15, 2019 | Vermont | PFOA, PFOS, PFHxS, PFNA, PFHpA | Added VT legislature adoption of law requiring establishing MCL for 5 listed PFAS "Table 4-1 Pending" tab in this workbook.
August 2019 | California | PFOA/PFOS | Added notice of notification level recommendations by OEHHA in "Table 4-1 Pending" tab in this workbook
August 2019 | Indiana, Kansas, Nebraska, Maine, Missouri, Wyoming | PFOA/PFOS | Added six states (IN, KS, NE, ME, MO, and WY) to the note on row 77 on "Table 4-1 Water" table indicating these states default to the EPA HA.
August 2019 | Maine | PFOA/PFOS | Maine CDC requested the Standard/Guidance “health-based MEG” of 0.07 ug/L value, the CDC 2016 GW screening levels, and the 2016 SW/RW screening levels need to be removed and noted the use of the USEPA HA. These changes were made to "Table 4-1 Water".
June 2019 Update: What's New
Date | State/Country | Chemical | Update
April 24, 2019 | Massachusetts | 6 PFAS: PFDA/PFHpA/PFHxS/PFNA/PFOS/PFOA | Added proposed PFAS-related revisions to the Massachusetts Contingency Plan (MCP), including proposed cleanup standards for 6 PFAS in soil and groundwater to "Table 4-1 Pending" tab in this workbook.
June 27, 2019 | Michigan | 7 PFAS: PFNA/PFOA/PFHxA/PFOS/PFHxS/PFBS/GenX | Added recommended Health-based Values (HBVs) to "Table 4-1 Pending" tab in this workbook
June 2019 | Montana | PFOA/PFOS | Added DEQ-7 adopted Numeric Water Quality Standards for PFOA and PFOS and deleted from "Table 4-1 Pending" tab in this workbook
June 28, 2019 | New Hampshire | PFOA/PFOS/PFHxS/PFNA | Added acknowledgement that NH adopted MCLs and Ambient Groundwater Quality Standards (ACQS) to be effective October 1, 2019 to the "Table 4-1 Pending" tab in this workbook
June 21, 2019 | Wisconsin | PFOA/PFOS | Added recommended groundwater enforcement standards and preventive action limits for PFOA and PFOS to "Table 4-1 Pending" tab in this workbook
May 2019 Update: What's New
Date | State/Country | Chemical | Update
May 31, 2019 | -- | -- | No updates in May 2019
April 2019 Update: What's New
Date | State/Country | Chemical | Update
April 9, 2019 | Alaska | PFOA/PFOS | Added note (a) to indicate that AK changed their action levels to adopt the USEPA HA of 0.07 µg/L for PFOA and PFOS only; AK no longer applies the HA to the sum of five PFAS (PFOS, PFOA, PFNA, PFHxS, and PFHpA).
April 2019 | Canada | 6:2 FTS/8:2 FTS | Added Drinking Water Screening Values (DWSVs) for 6:2 FTS and 8:2 FTS
April 4, 2019 | Michigan | PFOA/PFOS/PFNA/PFHxS/PFBS | Added Public Health Drinking Water Screening Levels for PFOA, PFOS, PFNA, PFHxS and PFBS.
April 3, 2019 | Minnesota | PFOS/PFHxS | Added Health-based Values (HBV) for PFOS and PFHxS
March 13, 2019 | New Jersey | PFOA/PFOS | Added Interim Specific Ground Water Quality Standards (ISGWQS) for PFOA and PFOS
April 2019 | US | PFOA/PFOS | Added draft interim recommendations for a screening level and preliminary remediation goal (PRG) for PFOA and PFOS to "Table 4-1 Pending" tab in this workbook.
February 2019 Update: What's New
Date | State/Country | Chemical | Update
February 2019 | US | PFOA/PFOS | Added PFAS Action Plan including development of Maximum Contaminant Levels (MCL) for PFOA and PFOS to "Table 4-1 Pending" tab in this workbook
January 2019 Update: What's New
Date | State/Country | Chemical | Update
2018 | Vermont | PFOA/PFOS/PFNA/PFHxS/PFHpA | Added preventive action levels (PALs) for select PFAS.
December 2018 | Canada | PFOA/PFOS | Added maximum acceptable concentrations (MACs) for select PFAS.
January 2019 | ATSDR, MT, NH, NY, VT | Select PFAS | Added draft or proposed values to the "Table 4-1 Pending" tab in this workbook.
November 2018 Update: What's New
Date | State/Country | Chemical | Update
August 2016 | Maine | PFOA/PFOS/PFBS | Added screening levels for select PFAS in groundwater and surface water.
October 2018 | Maine | PFOA/PFOS/PFBS | Added remedial action goals (RAGs) for select PFAS in groundwater.
September 2018 Update: What's New
Date | State/Country | Chemical | Update
September 2018 | Alaska | PFOA/PFOS/PFNA/PFHxS/PFHpA | Adopted action levels for select PFAS in groundwater (consistent with Massachusetts approach).
September 2018 | New Jersey | PFNA | Adopted Maximum Contaminant Level (MCL) for PFNA (0.013 µg/L).
2018 | Germany | PFOA/PFOS/PFNA/PFBA/PFBS/PFHxS/PFHxA | Established significance thresholds (GFS) for select PFAS in groundwater.
2014 | Norway | PFOA/PFOS | Established environmental quality standards (EQS) for PFOA and PFOS
July 2018 Update: What's New
Date | State/Country | Chemical | Update
July 2018 | California | PFOA/PFOS | Adopted Notification Levels for PFOA (0.014 µg/L) and PFOS (0.013 µg/L).
July 2018 | Colorado | PFHpA | Dropped PFHpA from the state's drinking water health advisory.
July 2018 | Vermont | PFNA/PFHxS/PFHpA | Adopted health advisory (HA) of 0.02 µg/L for PFNA, PFHxS and PFHpA in addition to previous HA of 0.02 µg/L for PFOA and PFOS.
July 2018 | British Columbia | PFOA/PFOS/PFBS | Adopted groundwater remediation standards for PFOA (0.2 µg/L), PFOS (0.3 µg/L) and PFBS (80 µg/L).
July 2018 | Canada | PFNA | Adopted drinking water screening value for PFNA (0.02 µg/L).
June 2018 Update: What's New
Date | State/Country | Chemical | Update
May 2018 | USEPA | PFOA/PFOS | Values developed using the RSL calculator replaced consistent with November 2017 version of Section 4 Tables.
June 2018 | AL, AZ, CO, MA, WV | PFOA/PFOS | States that have adopted the USEPA HA are now included in the table. Previously identified in a note only.
April 2018 | Colorado | PFOA/PFOS | CDPHE Site-specific Groundwater Quality Standard for El Paso County added.
June 2018 | Iowa | PFOA | Removed non-protected GW value for PFOA of 0.7 µg/L per request from Iowa DNR.
June 2018 | Massachusetts | PFOA/PFOS/PFNA/PFHxS/PFHpA | MassDEP interim recommendation to adopt EPA HA (0.07 µg/L) for 5 PFAS.
June 2018 | New Jersey | PFOS | Recommended MCL for PFOS.
June 2018 | Pennsylvania | PFOA/PFOS | Adopted USEPA Health Advisories of 0.07 µg/L
October 2017 | Rhode Island | PFOA/PFOS | Adopted USEPA Health Advisories of 0.07 µg/L
April 2018 Update: What's New
Date | State/Country | Chemical | Update
May 2017 | Minnesota | PFHxS | Adopted PFHxS value as an interim surrogate based on the PFOS HBV.
December 2017 | Minnesota | PFBA | Published Health-Based Values (HBVs) for PFBS: 2 µg/L (chronic) and 3 µg/L subchronic
January 10, 2018 | Michigan | PFOA/PFOS | Adopted USEPA Health Advisories of 0.07 µg/L
January 16, 2018 | New Jersey | PFNA | Adopted PFNA Ground Water Quality Standard of 0.01 µg/L
April 2018 | USEPA | PFOA/PFOS | Values developed using the RSL calculator were removed

## Soil Table
September 2020
Residential soil standards and guidance values for PFAS.
This Table belongs with the ITRC PFAS Technical and Regulatory Guidance Document. The values included here are changing rapidly and include residential exposure values. Industrial and commercial values may be available, but are not presented here. The ITRC intends to update this table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file. Please see ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
|  | Soil Screening Levels and/or Standards for Groundwater and Surface Water Protection (mg/kg) | [12 empty] | Human Health Soil Screening Level (mg/kg)
|  | U.S. | U.S States | [11 empty] | U.S. | U.S. States | [17 empty] | International
| Agency | USEPA | Alaska | Florida | Maine | Massachusetts |  |  | Michigan |  | Nebraska | North Carolina | Texas | Texas | USEPA | Alaska | Delaware | Florida | Indiana | Iowa | Maine | Massachusetts | Michigan | Minnesota | Nebraska | Nevada | New Hampshire | New Hampshire | North Carolina | Texas | Texas | Vermont | Wisconsin | Australia |  |  | Western Australia | British Columbia, Canada | Canada | Denmark | Norway
| Department | Regions | DEC | DEP | DEP | DEP |  |  | DEQ |  | DEE | DEQ | CEQ | CEQ | Regions | DEC | DNREC | FDEP | IDEM | DNR | DEP | DEP | DEQ | PCA | DEE | DEP | DES - EHP |  | DEQ | CEQ | CEQ | DEC | DNR | HEPA/ DoEE | HEPA/ DoEE | HEPA/ DoEE | DER |  | HC
| Year | 2018 | 2017 | 2019 | 2018 | 2019 |  |  | 2016 |  | 2018 | 2018 | 2017 | 2017 | 2018 | 2017 | 2016 | 2019 | 2019 | 2016 | 2018 | 2019 | 2016 | 2019 | 2018 | 2017 | 2019 |  | 2018 | 2017 | 2017 | 2019 | 2018 | 2018 | 2018 | 2018 | 2017 | 2018 | 2019 | 2015 | 2018
Standard |  | RSLa | CL | PSCTL | RAG | S-1,2,3/ GW-1 | S-1/GW-2 S-1/GW-3 | S-2,3/ GW-2,3 | GSIPC |  | RGg | PSRG | PCL | PCL | RSLa | CLd |  | PSCTL | SLf | SWSh | RAG | S-1j | GCC | SRV | RGg | BCL | DCRB |  | PSRG | PCL | PCL | RSLi | RCL |  |  |  | ISL |  | SSV
PFAS | CAS RN |  |  | Protection of Drinking Water |  | Protection of Drinking Water | Non-Drinking Water/Surface Water Protection |  | Drinking Surface Waterb | Non-drinking Surface Waterc | Drinking Water |  | 0.5 acre source | 30 acre source |  |  |  | Residential | [8 empty] | Residential | Maintenance Working |  | 0.5 acre source | 30 acre source |  |  | Residential with garden/ accessible soil | Residential with minimal opportunities for soil access | Public open space |  |  | Agricultural/Residential Parkland Land Use
PFNA | 375-95-1 | -- | -- | -- | -- | 0.00032 | 0.3 | 0.4 | -- | -- | -- | -- | 0.0031 | 0.0015 | -- | -- | -- | -- | -- | -- | -- | 0.3 | -- | -- | -- | -- | 0.1 | 0.9 | -- | 0.76 | 0.73 | 1.22 | -- | -- | -- | -- | -- | -- | 0.08 | 0.4 | --
PFOA | 335-67-1 | 0.000172 | 0.0017 | 0.002 | 0.0095 | 0.00072 | 0.3 | 0.4 | 0.35 | 10 | 0.0006 | 0.017 | 0.003 | 0.0015 | 1.26 | 1.3 | 16 | 1.3 | -- | 35 | 1.7 | 0.3 | 6 | 0.24 | 0.32 | 1.56 | 0.2 | 1.3 | -- | 0.6 | 0.49 | 1.22 | 1.26 | 0.1 | 20 | 10 | 40 | -- | 0.7 | 0.4 | 0.013
PFOS | 1763-23-1 | 0.000378 | 0.003 | 0.007 | 0.021 | 0.002 | 0.3 | 0.4 | 0.00022 | 0.00024 | 0.00078 | -- | 0.05 | 0.025 | 1.26 | 1.3 | 6 | 1.3 | -- | 1.8 | 1.7 | 0.3 | 3.2 | 0.041 | 3.2 | 1.56 | 0.1 | 0.6 | -- | 1.5 | 1.5 | 1.22 | 1.26 | 0.009 | 2 | 1 | 4 | 1 | 2.1 | 0.4 | 0.0023
PFBA | 375-22-4 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.2 | 0.098 | -- | -- | -- | -- | 1800 | -- | -- | -- | -- | 38 | -- |  | -- | -- | -- | 180 | 160 | -- | -- | -- | -- | -- | -- | -- | 114 | 0.4 | --
PFBS | 375-73-5 | 0.13 | -- | -- | 7.1 | -- | -- | -- | -- | -- | -- | 0.91 | 0.11 | 0.053 | 1300 | -- | -- | -- | 1800 | 1200 | 1700 | -- | -- | 5.7 | -- | 125 | -- | -- | 250 | 86 | 80 | -- | 1260 | -- | -- | -- | -- | 300 | 61 | 0.4 | --
PFPeA | 2706-90-3 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.00032 | 0.00016 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.25 | 0.25 | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.4 | --
PFHxS | 355-46-4 | -- | -- | -- | -- | 0.0003 | 0.3 | 0.4 | -- | -- | -- | -- | 0.002 | 0.001 | -- | -- | -- | -- | -- | -- | -- | 0.3 | -- | 0.13 | -- | -- | 0.1 | 0.9 | -- | 0.25 | 0.24 | 1.22 | -- | 0.009 | 2 | 1 | 4 | -- | 2.3 | 0.4 | --
PFHxA | 307-24-4 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.00048 | 0.00024 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.25 | 0.25 | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.4 | --
PFHpA | 375-85-9 | -- | -- | -- | -- | 0.0005 | 0.3 | 0.4 | -- | -- | -- | -- | 0.0046 | 0.0023 | -- | -- | -- | -- | -- | -- | -- | 0.3 | -- | -- | -- | -- | -- | -- | -- | 1.5 | 1.5 | 1.22 | -- | -- | -- | -- | -- | -- | 0.8 | 0.4 | --
PFOSA | 754-91-6 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.92 | 0.46 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.058 | 0.031 | -- | -- | -- | -- | -- | -- | -- | -- | 0.4 | --
PFDA | 335-76-2 | -- | -- | -- | -- | 0.0003 | 0.3 | 0.4 | -- | -- | -- | -- | 0.022 | 0.011 | -- | -- | -- | -- | -- | -- | -- | 0.3 | -- | -- | -- | -- | -- | -- | -- | 0.99 | 0.98 | -- | -- | -- | -- | -- | -- | -- | -- | 0.4 | --
PFDS | 335-77-3 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.04 | 0.02 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.8 | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
PFUnA | 2058-94-8 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.018 | 0.0092 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.8 | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
PFDoA | 307-55-1 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.034 | 0.017 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.79 | 0.78 | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
PFTrDA | 72629-94-8 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.061 | 0.03 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.61 | 0.61 | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
PFTeDA | 376-06-7 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.11 | 0.056 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.51 | 0.51 | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
6:2 FTS | 27619-97-2 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.4 | --
8:2 FTS | 39108-34-4 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.8 | 0.4 | --
Notes:
a. Regional Screening Levels (RSL) for PFBS as presented in the USEPA Regional Screening Level (RSL) Summary Table (TR=1E-06, HQ=1) November 2014 through May 2018. As of June 2018, values for PFOA and PFOS calculated by the EPA RSL calculator using EPA OW RfDs, HQ of 1, and residential exposure assumptions. Note: RSL users screening sites with multiple contaminants should consult the USEPA (2018) RSL User's Guide and USEPA (1989) Risk Assessment Guidance.
b. Michigan soil GSIPCs for non-drinking surface water are developed to be protective of surface water that is NOT used as drinking water; these soil GSIPCs consider incidental ingestion of surface water and ingestion of fish that inhabit the water.
c. Michigan soil GSIPCs for drinking surface water are developed to be protective of surface water that is used as a drinking water source.
d. Alaska proposed cleanup levels for Human Health - most stringent value is from the "Over 40 Inch Zone".
c. Interim screening level for contaminated sites
d. The recommended approach to summing PFOA and PFOS is: PFOS/SSVPFOS + PFOA/SSVPFOA ≤ 1
e. Applies to the individual results for PFOA, PFOS, PFNA, PFBA, PFBS, PFHxS, PFHxA, PFPeA, PFHpA, PFOSA, PFDA, AND 6:2 FTS as well as the sum of concentrations of these 12 PFAS.
f. Indiana Residential Soil Screening Level for Direct Contact for PFBS and PFBA.
g. Nebraska Voluntary Cleanup Program Groundwater and Soil Remediation Goals
h. Iowa Statewide Standards for soil
i. Vermont PFAS criteria are for the individual compounds or sum of the five PFAS - PFHpA, PFHxS, PFNA, PFOS and PFOA.
j. Massachusetts criteria for S-1 soils including sensitive land uses
Regulatory Agency | [6 empty] | Standard | [5 empty] | Per- and polyfluoroalkyl substances
CEQ = Commission on Environmental Quality | [6 empty] | BCL= Basic Comparison Levels | [5 empty] | PFAS = per- and polyfluoroalkyl substances
DEC = Department of Environmental Conservation | [6 empty] | CL = Cleanup Level | [5 empty] | PFOA = perfluorooctanoic acid (C8)
DEE = Department of Energy and Environment | [6 empty] | DCRB = Direct Contact Risk-Based concentration | [5 empty] | PFOS = perfluorooctane sulfonic acid (C8)
DEM = Department of Environmental Management | [6 empty] | GCC = Generic Cleanup Criteria | [5 empty] | PFNA = perfluorononanoic acid (C9)
DENR = Department of Environment and | [6 empty] | GSIPC = Groundwater Surface Water (GSI) Protection Criteria (GSIPC) | [5 empty] | PFBA = perfluorobutyric acid (C4)
Natural Resources | [6 empty] | PCL = Protective Concentration Level | [5 empty] | PFBS = perfluorobutane sulfonic acid (C4)
DEP = Department of Environmental Protection | [6 empty] | PSCTL = Provisional Soil Cleanup Target Level | [5 empty] | PFPeA = perfluoropentanoic acid (C5)
DES-EHP = Department of Environmental Services-Environmental Health Program | [6 empty] | PSRG = Preliminary Soil Remediation Goal | [5 empty] | PFHxS = perfluorohexane sulfonic acid (C6)
DEQ = Department of Environmental Quality | [6 empty] | RAG = Remedial Action Goal | [5 empty] | PFHxA = perfluorohexanoic acid (C6)
DER = Department of Environment Regulation | [6 empty] | RG = Remediation Goal | [5 empty] | PFHpA = perrfluoroheptanoic acid (C7)
DoEE = Department of Environment and Energy | [6 empty] | RSL = Regional Screening Level | [5 empty] | PFOSA = perfluorooctane sulfonamide (C8)
DNREC = Department of Natural Resources and Environmental Control | [6 empty] | SL = Screening Level | [5 empty] | PFDA = perfluorodecanoic acid (C10)
HC = Health Canada | [6 empty] | SRV = Soil Reference Value | [5 empty] | PFDS = perfluorodecane sulfonate (10)
HEPA = Heads of EPAs Australia and New Zealand | [6 empty] | SSV = Soil Screening Value | [5 empty] | PFUnA = perfluoroundecanoic acid (C11)
PCA = Pollution Control Agency | [6 empty] | SWS = Statewide Standard | [5 empty] | PFDoA = perfluorododecanoic acid (C12)
USEPA = United States Environmental Protection Agency | [12 empty] | PFTrDA = perfluorotridecanoic acid (C13)
PFTeDA = perfluorotetradecanoic acid (C14)
6:2 FTS = 6:2 Fluorotelomer sulfonate
8:2 FTS = 8:2 Fluorotelomer sulfonate

## Soil References
September 2020
UPDATES Residential soil standards and guidance values for PFAS.
REFERENCES: UNITED STATES ENVIRONMENTAL PROTECTION AGENCY (USEPA) |  | WEBSITE SOURCE
USEPA | United States Environmental Protection Agency (USEPA). 1989. Risk Assessment Guidance for Superfund (RAGS), Volume 1, Human Health Evaluation Manual (Part A). Interim Final. EPA/540/1-89/002. December. | https://www.epa.gov/sites/production/files/2015-09/documents/rags_a.pdf
| United States Environmental Protection Agency (USEPA). 2020. Regional Screening Levels (RSLs), RSL User's Guide, and RSL Calculator. May. | https://www.epa.gov/risk/regional-screening-levels-rsls
REFERENCES: UNITED STATES
AK | Alaska Department of Environmental Conservation (ADEC). 2017. 18 AAC 75, Oil and Other Hazardous Substances Pollution Control. As amended through March 23, 2017. (p. 79) | https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwiDz--xmtPpAhUhmeAKHd56A9EQFjAFegQIARAB&url=https%3A%2F%2Fdec.alaska.gov%2Fmedia%2F4653%2F18-aac-75-cleanup-level-amendments-annotated-3-2-18.pdf&usg=AOvVaw34oMTLIhycsUjWQGRQW6sf
DE | Delaware Department of Natural Resources and Environmental Control (DNREC). 2018. Screening Level Table. Division of Waste and Hazardous Substances. Site Investigation & Restoration Section. HSCA Reporting Level Table. Effective February 2018. | http://www.dnrec.delaware.gov/dwhs/sirb/Documents/Screening%20Level%20Table.pdf
FL | Florida Department of Environmental Proteciton (FDEP). 2019. Provisional PFOA and PFOS Cleanup Target Levels/Screening Levels | https://floridadep.gov/waste/district-business-support/documents/provisional-pfoa-and-pfos-cleanup-target-levels-screening
IA | Iowa Department of Natural Resources (IDNR). 2016. Land Recycling Program. Statewide standards for contaminants in soil and groundwater. Accessed November 2019 https://programs.iowadnr.gov/riskcalc/Home/statewidestandards | https://programs.iowadnr.gov/riskcalc/Home/statewidestandards
IN | Indiana Department of Environmental Management (IDEM). 2019. Soil Screening and Closure Level Tables. March 2019. Updated 2020, no change to values | https://www.in.gov/idem/cleanups/2392.htm
MA | Massachusetts Department of Environmental Protection (MADEP). 2019. Updates to MCP Soil Category Standards Tables 2-5. December 2019. | https://www.mass.gov/doc/final-pfas-related-changes-to-the-mcp-2019-12-13/download
ME - RAGs | Maine Department of Environmental Protection (DEP). 2018. Maine Remedial Action Guidelines (RAGs) for Sites Contaminated with Hazardous Substances. October 19 (p. 47). | https://www.maine.gov/dep/spills/publications/guidance/rags/ME-Remedial-Action-Guidelines-10-19-18cc.pdf
ME - SL | Maine Center for Disease Control and Prevention (CDC). 2016. Interdepartmental Memo from Maine CDC to DEP regarding Human Health Risk-Based Screening Levels for Perfluoroalkyl Compounds. August 17. Contact Maine CDC for Copy of this Reference.
MI | Michigan Department of Environmental Quality (DEQ). 2018. Remediation and Redevelopment Division. Cleanup Criteria Requirements for Response Activity (Formerly the Part 201 Generic Cleanup Criteria and Screening Levels). June 25. | https://www.michigan.gov/egle/0,9429,7-135-3311_4109_9846-251790--,00.html
MN | Minnesota Pollution Control Agency (PCA) Risk-Based Site Evaluation Guidance, Draft Soil Reference Value (SRV) Technical Support Document and SRV Spreadsheets as of September 2016. | https://www.pca.state.mn.us/waste/risk-based-site-evaluation-guidance
NC | North Carolina Department of Environmental Quality (DEQ). 2018. Preliminary Soil Remediation Goals (PSRG) Table. February 2018. | https://deq.nc.gov/permits-rules/risk-based-remediation/risk-evaluation-resources
NE | Nebraska Department of Energy and Environment (DEE). 2018. Voluntary Cleanup Program Remediation Goals. Table A-1. September 2018 | http://www.deq.state.ne.us/Publica.nsf/pages/05-162
NH | New Hampshire Department of Environmental Services-Environmental Health Program. Direct Contact Risk-Based Soil Concentration. Perfluorooctanoic Acid. CAS #335-67-1. June 17, 2016
New Hampshire Department of Environmental Services-Environmental Health Program. Direct Contact Risk-Based Soil Concentration. Perfluorooctane Sulfonate. CAS #1763-23-1 . June 28, 2016
| New Hampshire Department of Environmental Services-Environmental Health Program. Direct Contact Risk-Based Soil Concentration. Perfluorooctanoic acid (PFOA), Perfluorooctane Sulfonate (PFOS), Perfluorohexane sulfonic acid (PFHxS), and Perfluorononanoic acid (PFNA). November 20, 2019 | https://www4.des.state.nh.us/nh-pfas-investigation/wp-content/uploads/PFAS-DCRB-value-112019-002.pdf
TX | Texas Commission on Environmental Quality (TCEQ). 2016. Texas Risk Reduction Program (TRRP) Tier 1 Protective Concentration Levels (PCLs). November 2019 Update | https://www.tceq.texas.gov/remediation/trrp/trrppcls.html
REFERENCES: INTERNATIONAL
Australia | Heads of EPAs Australia and New Zealand (HEPA) and the Australian Government Department of the Environment (DoEE). 2018. PFAS National Environmental Management Plan (NEMP). January.
W. Australia | Government of Western Australia Department of Environment Regulation (DER). 2017. Interim Guideline on the Assessment and Management of Perfluoroalkyl and Polyfluoroalkyl Substances (PFAS). Contaminated Sites Guidelines. January.
British Columbia | British Columbia Office of Legislative Counsel, Ministry of Attorney General, Victoria, British Columbia. Environmental Management Act. Contaminated Sites Regulation. B.C. Rg. 375/96. July 24, 2018..
Canada | Updates to Health Canada Soil Screening Values for Perfluoroalkylated Substances (PFAS). Health Canada. May 2019.
Denmark | Danish Ministry of the Environment. 2015. Perfluoroalkylated substances: PFOA, PFOS and PFOSA. Evaluation of health hazards and proposal of a health based quality criterion for drinking water, soil and ground water. Environmental project No. 1665, 2015.

## Soil Updates
September 2020
UPDATES Residential soil standards and guidance values for PFAS.
This Table belongs with the ITRC PFAS Technical and Regulatory Guidance Document. The values included are changing rapidly. The ITRC intends to update the table periodically as new information is gathered. The user is encouraged to visit the ITRC PFAS web page (http://pfas-1.itrcweb.org) to access the current version of this file. Please see ITRC Disclaimer http://pfas-1.itrcweb.org/about-itrc/#disclaimer
February through September 2020 Update: What's New
No updates
January 2020 Update: What's New
Date | State/Country | Chemical | Update | Website Source
Undated | Florida | PFOA, PFOS | Provisional groundwater cleanup target levels and Surface water screening levels for protection of human health | https://floridadep.gov/waste/district-business-support/content/contaminated-media-forum
December 2019 Update: What's New
Date | State/Country | Chemical | Update | Website Source
December 27, 2019 | Massachusetts | PFDA, PFHpA, PFHxS, PFNA, PFOS, PFOA | Massachusetts promulgated S-1, S-2, and S-3 standard for soil | https://www.mass.gov/doc/final-pfas-related-changes-to-the-mcp-2019-12-13/download
November 27, 2019 | Minnesota | PFBA, PFBS, PFOS, PFHxS, PFOA | Revised Human Health Soil Reference Values from MPCA, based on values derived for East Metro Remediation Site; | No link available, but Minnesota state point of contact is Bonnie Brooks at bonnie.brooks@state.mn.us
November 20, 2019 | New Hampshire | PFOA, PFOS, PFHxS, PFNA | New Hampshire updated direct contact risk-based soil concentrations for PFOA, PFOA, PFNA, and PFHxS | https://www4.des.state.nh.us/nh-pfas-investigation/wp-content/uploads/PFAS-DCRB-value-112019-002.pdf
November 2019 Update: What's New
Date | State/Country | Chemical | Update
November 18, 2019 | Iowa | PFBS, PFOS, PFOA | Statewide standards for soil, current values but date of update not indicated on website. https://programs.iowadnr.gov/riskcalc/Home/statewidestandards
July 6, 2019 | Vermont | PFNA, PFOA, PFOS, PFHxS, PFHpA | Environmental Protection Rules, Chapter 35, Investigation and Remediation of Contaminated Properties Rule. Establishes soil criteria for residential and non-residential soil values. (https://dec.vermont.gov/waste-management/contaminated-sites/guidance) | https://dec.vermont.gov/news/IRule-PFAS-updates
October 2019 Update: What's New
Date | State/Country | Chemical | Update
October 31, 2019 | -- | -- | No updates in October 2019
September 2019 Update: What's New
Date | State/Country | Chemical | Update
2019-03-01 | Indiana | PFBS, PFBA | IDEM Screening Levels added for Residential, Commercial/Industrial and Excavation direct contact
2018-12-01 | Wisconsin | PFBS, PFOS, PFOA | Wisconsin Remediation and Redevelopment Program Non-Industrial Soil RCLs, that are equal to EPA RSLs, were added to the table.
2018-10-01 | Nebraska | PFOS, PFOA | Added Soil Remediation Goals from Voluntary Cleanup Program for protection of groundwater and human health.
2019-09-01 |  |  | Clarifying text added to row 4.
2016 | Delaware | PFBS | Included human health soil screening criteria for PFBS.
July/August 2019 Update: What's New
Date | State/Country | Chemical | Update
August 2019 | Maine | PFOA/PFOS | The CDC HH Soil Screening Levels were removed as they were superseded by the updated 2018 RAGs.
June 2019 Update: What's New
Date | State/Country | Chemical | Update
May 2019 | Canada | 6:2 FTS/8:2 FTS | Added soil screening values for 6:2 FTS and 8:2 FTS
May 2019 Update: What's New
Date | State/Country | Chemical | Update
May 31, 2019 | -- | -- | No updates in May 2019
April 2019 Update: What's New
Date | State/Country | Chemical | Update
March 2019 | Michigan | PFOA/PFOS | Changed to clarify the media considered by the soil GSIPC values
February 2019 Update: What's New
Date | State/Country | Chemical | Update
February 2019 | Canada | PFOA, PFOS, PFBA, PFBS, PFBA, PFBS, PFPeA, PFHxS, PFHpA, PFNA | Added screening levels for select PFAS in soil.
January 2019 Update: What's New
No updates to soil values in January 2019
November 2018 Update: What's New
Date | State/Country | Chemical | Update
August 2016 | Maine | PFOA/PFOS/PFBS | Added screening levels for select PFAS in soil.
October 2018 | Maine | PFOA/PFOS/PFBS | Added remedial action goals (RAGs) for select PFAS in soil.
September 2018 Update: What's New
Date | State/Country | Chemical | Update
2018 | Norway | PFOA/PFOS | Established "normative values" for PFOA and PFOS in soil.
July 2018 Update: What's New
Date | State/Country | Chemical | Update
June 2018 | Michigan | PFOA/PFOS | Updated soil groundwater protection values.
February 2018 | North Carolina | PFOA/PFBS | Updated soil groundwater protection values for PFOA and PFBS and human health screening values for PFBS.
July 2018 | British Columbia | PFOS/PFBS | Adopted soil remediation standards for PFOS and PFBS.
June 2018 Update: What's New
Date | State/Country | Chemical | Update
May 2018 | USEPA | PFOA/PFOS | Values developed using the RSL calculator replaced consistent with November 2017 version of Section 4 Tables.
June 2018 | Iowa | PFOA/PFOS | Added soil screening levels per request of Iowa DNR.
January 2018 | Australia | PFOA/PFOS/PFHxS | Removed 2016 DOD values and replaced the with Australia's 2018 PFAS National Environmental Management Plan (NEMP) values.
April 2018 Update: What's New
Date | State/Country | Chemical | Update
April 2018 | USEPA | PFOA/PFOS | Values developed using the RSL calculator were removed